## Slide 1
Safe PICO syringes for collection of Arterial/Venous Blood Gas Samples on patients with suspected or confirmed COVID-19
      Collect the sample in the usual way
      Place the cap onto the syringe
      Expel any air only once the cap is in place
      Mix the sample
      Perform the test leaving the cap on the syringe
    to minimise the release of any aerosol
    DO NOT REMOVE THE CAP FROM THE SYRINGE TO PERFORM THE TEST!
For further stocks of the syringes please contact the
Material Management team
material.management@sthk.nhs.uk
If further any queries, please contact Ext 4317